Peerless G863-64 CW-PG65-C 1-5/8” Casement Inswing - Fixed Architectural Thermal Aluminum Window


SECTION 085113 - ALUMINUM WINDOWS (Architectural)

*TO FINISH YOUR SPECIFICATION: 1. Please read, react to, then delete comments in red or *stars*. 2. Please add or delete options in green or (parentheses). 3. Please replace preceding standards with options in blue [brackets] or delete options in blue [brackets]. 4. Finally, please revise paragraph numbers and/or letters, as necessary.*
*BEFORE USING YOUR FINISHED SPECIFICATION: Permit Peerless to review your edits to confirm your selected options do not restrict your desired operation or reduce the tested performance.*
PART 1 - GENERAL

1.01  SECTION INCLUDES
A. Material: aluminum windows as on the drawings and specified in this section.  
B. Installation: labor, tools, and material needed to install aluminum windows. 
C. Glass and glazing.
(1.02  PRODUCTS SUPPLIED BUT NOT INSTALLED)
*Enter description, e.g., extra vents to be supplied and stored for the future*
(1.03  PRODUCTS INSTALLED BUT NOT SUPPLIED)
*Enter description, e.g., louver supplied by others to be installed in new window*
1.04  RELATED SECTIONS - Section 079200 – Joint Sealants
1.05  REFERENCES
A. AAMA - American Architectural Manufacturers Association - www.aamanet.org
1. AAMA/WDMA/CSA 101/I.S.2/A440-08 “NAFS - North American Fenestration Standard/Specification for windows, doors, and skylights”
2. AAMA 502-12 "Voluntary Specification for Field Testing of Newly Installed Fenestration Products"
3. AAMA 611-14 "Voluntary Specification for Anodized Architectural Aluminum" 
4. AAMA 701/702-11 "Voluntary Specification for Pile Weatherstripping and Replaceable Fenestration Weatherseals” 
5. AAMA 904-14 “Voluntary Specification for Multi-bar Hinges in Window Applications”
6. AAMA 1503-09 "Voluntary Test Method for Thermal Transmittance and Condensation Resistance of Windows, Doors, and Glazed Wall Sections"
7. AAMA 2605-13 “Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels” 
8. AAMA CW-10-15 "Care and Handling of Architectural Aluminum from Shop to Site" 

9. AAMA 513-12 “Standard Laboratory Test Method for Determination of Forces and Motions Required to Activate Operable Parts of CW and AW Class Operable Windows, Sliding Glass Doors and Terrace Doors in Accessible Spaces”
C. ASTM - American Society for Testing and Materials – www.astm.org
1. ASTM E283-12 "Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen" 
2. ASTM E330-14 "Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Uniform Static Air Pressure Difference" 
3. ASTM E331-09 "Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference" 
4. ASTM E547-09 "Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Differential" 
5. ASTM E2190-10 "Standard Specification for Insulating Glass Unit Performance and Evaluation"
6. ASTM F588-14 “Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact”
C. IGCC – Insulating Glass Certification Council – www.igcc.org
D. NFRC – National Fenestration Rating Council – www.nfrc.org   
1. NFRC 100-2014 “Procedure for Determining Fenestration Product U Factors”
2. NFRC 102-2014 “Procedure for Measuring the Steady-State Thermal Transmittance of Fenestration Systems”
E. SGCC – Safety Glazing Certification Council – www.sgcc.org
1. ANSI Z97.1-09 “American National Standard for Safety Glazing Materials used in Buildings – Safety Performance Specifications and Methods of Test”
2. 16 CFR 1201 “Consumer Product Safety Commission Safety Standard for Architectural Glazing Materials – codified at Title 16, Part 1201 of the Code of Federal Regulations 2011 Edition”
1.06  SYSTEM DESCRIPTION
A. AAMA Designation: CW-PG65-C.
B. Windows: 1-5/8" frame depth; extruded aluminum with integral structural thermal break installed by the window manufacturer in the frame and vent members; prime/nailing fin [integral trim] [stucco panning/deep set nailfin] frame; exterior and interior finishes applied by the window manufacturer; frames and vents assembled by the window manufacturer.
C. Thermal break: The thermal break separating the exterior and interior aluminum extrusions shall be a mechanical crimp-in-place system utilizing multi-directional glass fiber reinforced polyamide nylon hollow struts with locking mechanical connections to the aluminum extrusions. The thermal break shall not be compromised by hardware or metal fasteners.
D. Configuration: casement inswing vent-to-fixed [fixed-to-vent] with a vertical integral mullion in one master frame; vent hinged at the jamb and pulls in to open. 
E. Handing: left hand – G863 = the hinges are on the left, when standing outside and looking in; [right hand – G864 = the hinges are on the right, when standing outside and looking in].
F. Glazing: exterior ExxonMobil Santoprene™ foam gasket; 1" insulating glass; two weep holes under each glass pocket for drainage; foam backer rod and silicone heel bead forming an internal seal; interior Santoprene™ bulb gasket threaded into aluminum glazing beads; glass description in paragraph 2.04; glazed by the window manufacturer.
1.07 PERFORMANCE REQUIREMENTS
A. Conformance to CW-PG65-C specifications in AAMA/WDMA/CSA 101/I.S.2/A440-08 when tests are performed on the prescribed 72" x 72" minimum test size with the following test results:
1. Air Infiltration: not to exceed AAMA 101 standard of maximum .1 cfm/square foot when tested per ASTM E283-12 at a static air pressure difference of 6.24 psf.
2. Water Penetration: no uncontrolled water leakage when tested per ASTM E331-09 and ASTM E547-09 at a static air pressure difference of 12 psf.
3. Uniform Deflection: no more than L/175 when tested per ASTM E330-14 at a static air pressure difference of 65 psf.
4. Uniform Structural Load: no glass breakage or permanent damage to fasteners, and maximum .2% permanent deformation of the span of any frame member when tested per ASTM E330-14 at a static air pressure difference of 97.5 psf.
5. Forced Entry Resistance: latching devices shall provide reasonable security against forced entry and the test window shall achieve a Grade 10 when tested per ASTM F588-14.
B. Thermal NFRC Simulation: thermal computer simulation per NFRC 100-2014 on a 72” x 72" test size glazed with 1” insulating made with 1/4” soft coat low E coating on surface #2, argon gas in the airspace made with a stainless steel spacer, and 1/4” clear glass, with the following test result: Standardized Thermal Transmittance to be maximum 0.322 BTU/HR/SQ.FT/°F.
1.08  SUBMITTALS
A. Shop drawings: window location chart; typical window elevations; details of assemblies, hardware, and glazing details for units glazed by the window manufacturer.
B. Product data: test reports from an AAMA-accredited laboratory; manufacturer's specifications.
C. Samples: each specified finish for aluminum; other samples as requested. 
1.09  QUALITY ASSURANCE
A. Submit for prebid approval ten days prior to bid opening valid test reports from an AAMA-accredited laboratory conforming to test results in Paragraph 1.07, and a sample window representing the bid window except for color.
B. Acceptance will be by addendum only as no verbal approvals will be allowed.
C. Submit bid on prequalified products in prebid written addendum. Bidder must identify manufacturer and model of product on which the bid is based.
D. Furnish a valid AAMA “Authorization for Product Certification” indicating that the windows for the project conform to AAMA/WDMA/CSA 101/I.S.2/A440-08.
E. Furnish visible, permanent IGCC certification labels indicating compliance with ASTM E 2190-10 on the insulating glass units.
F. Furnish visible, permanent SGCC certification labels indicating conformance to ANSI Z97.1-09 and/or 16 CFR 1201 on tempered glass lites, if included on the project, and laminated glass lites, if included on the project. 
G. Manufacturer's warranties:
1. Windows: warrant for one year against defects in material or workmanship under normal use.
2. Insulating glass units: warrant seal for ten years against visual obstruction from film formation or moisture collection between internal glass surfaces, excluding that caused by glass breakage or abuse.
3. Powder Paint Finish: Finish conforming to AAMA 2605 shall be warranted for twenty years against checking, cracking, chalking, or fading.
4. Powder Paint Finish: Finish conforming to AAMA 2604 shall be warranted for twenty years against checking, cracking, chalking, or fading.
(H. Project Survey: *Contact Peerless to register before project bid date* by installer
      and manufacturer’s representatives; one year after date of completion; to
      recommend maintenance procedures.)
1.10 DELIVERY, STORAGE, AND HANDLING - Handle and protect windows and 
         accessories in accordance with AAMA CW-10-15 until installation completion.        
PART 2 - PRODUCTS

2.01  MANUFACTURERS
A. Peerless G863 Left Hand [G864 Right Hand] Casement Inswing by Fixed Thermal Aluminum Window
B. Other acceptable manufacturers who have demonstrated a successful history of manufacturing for *Enter number* years equivalent products:
1. *Enter an equivalent manufacturer’s company name and model number*
2. *Enter another equivalent manufacturer’s company name and model number*
2.02  MATERIALS
A. Aluminum extrusions: extruded by the window manufacturer from commercial quality 6063-T5 alloy; free from defects impairing strength and durability.

B. Hardware: mounted in concealed extruded grooves to avoid penetrating frame or vent members with fasteners; two concealed stainless steel hinges conforming to AAMA 904-14 per vent to rotate the vent inward on vertical axis; one single-action handle with multiple point locks per vent, painted to match the finish of the window; [one single-action key-operated handle with multiple point locks per vent, painted to match the finish of the window] [one single-action ADA long handle with multiple point locks per vent, painted to match the finish of the window]; (key-release limit arms *specify clear opening dimension*;)
C. Weatherstrip: secured in extruded ports; Santoprene™ seals conforming to AAMA 702-11; flap seal single row mounted on the vent interior on the bottom rail, top rail, and stiles; center vent gasket seal single internal row mounted on the head, sill and jamb frame members.
   (D.  Insect screens: full; mounted on the window frame exterior; 1/2” x 1” x .050”
     extruded tubular aluminum frame with the same finish as the window exterior in
     color and performance; corners mitered, gusset reinforced, and crimped; 18 x 16
     dark fiberglass [aluminum] mesh; flexible PVC spline.)

2.03 FABRICATION
A. Frame: single tubular head, sill, and jambs mitre cut and fastened with one zamac corner gusset per corner; single tubular integral mullion, if required, fastened with one zamac gusset per frame member without penetrating the frame member with fasteners; corners sealed by the window manufacturer with sealant conforming to AAMA 800-10.
B. Vent: single tubular horizontal and vertical vent rails and stiles mitre cut and fastened with one zamac corner gusset per corner; corners sealed by window manufacturer with sealant conforming to AAMA 800-10.
C. Water control: continuous compression gasket within the internal frame to utilize pressure equalization and to allow water to drain by gravity through exterior weep slots covered with weep flaps and weep hoods finished to match window.
2.04  INSULATING GLASS UNITS 
A. Materials

1. Spacer: tubular stainless steel.
2. Spacer color: stainless metal color.
3. Primary seal: polyisobutylene.
4. Secondary seal: silicone.
5. Airspace fill: plain air. [argon.]
B. Performance

1.
Dual-seal durability: conformance to ASTM E 2190-10; visible, permanent IGCC certification label.
(2. Other: *Enter center-of-glass U value, SHGC, and VT data as required*)
C. Exterior glass lite
1. Thickness: 1/8". [3/16".] [1/4".]
2. Tint: clear.
3. Type: annealed. [tempered.] [laminated. *Enter interlayer and lite descriptions*]
(4.  Coating: low E coating on #2 surface; Cardinal Glass 270 or Cardinal Glass
      366 or equivalent.)
D. Interior glass lite
1. Thickness: 1/8". [3/16".] [1/4".]
2. Tint: clear. [obscure. *Enter pattern*]
3. Type: annealed. [tempered.] [laminated. *Enter interlayer and lite descriptions*]
(4.  Coating: soft low E coating on #3 surface; Cardinal Glass 270 or Cardinal 
      Glass 366 or equivalent.)
(5.  Coating: low E coating on #4 surface; Cardinal Glass i89 or equivalent.)
E. Glass surface protection: Factory-apply removeable protective clear Cardinal Glass Preserve™ film on insulating glass exterior and interior surfaces for protection during window installation and building construction.

2.05 FINISH ON EXTERIOR ALUMINUM EXTRUSIONS

A. Application: on clean extrusions free from objectionable surface blemishes; on exposed surfaces visible when installed product's operating sash is closed. Electrostatic spray by an Approved Applicator and appropriate oven bake process.

B. Coating: Superior Performance Powder coating: One-coat dry system with resin containing 70% fluoropolymer; thermosetting; alternative finishes will not be acceptable.

C. Quality Standard: Conforming to AAMA 2605-13, including 10 years Florida exposure. [AAMA 2604-13, including 5 years Florida exposure.]

D. Pretreatment: Mechanically clean and chemically pretreat fabricated items in accordance with coating manufacturer's requirements and AAMA requirements with a Chrome Free Treatment.

E. Coating Quantity: One single color coating, additional coating quantities will not be accepted. This includes, but is not limited to barrier coats, primers and clear coats.

F. Dry Film Thickness: Eighty percent of measurements on primary exposed surfaces shall exceed 1.9 mils with a standard thickness range of 1.9 to 3.14 mils, except inside corners and channels.

G. Environmental Factors: Less than 3% harmful VOC's (Volatile Organic Compounds) emitted during powder coating application process.

H. Color: Chosen from manufacturer's standards.

** NOTE TO SPECIFIER ** Delete exterior finish not required.

1. Quality Standard: Conforming to AAMA 2604.

2. Quality Standard: Conforming to AAMA 2605.

2.06 FINISH ON INTERIOR ALUMINUM EXTRUSIONS

I. Application: on clean extrusions free from objectionable surface blemishes; on exposed surfaces visible when installed product's operating sash is closed. Electrostatic spray by an Approved Applicator and appropriate oven bake process.

J. Coating: Superior Performance Powder coating: One-coat dry system with resin containing 70% fluoropolymer; thermosetting; alternative finishes will not be acceptable.

K. Quality Standard: Conforming to AAMA 2605-13, including 10 years Florida exposure. [AAMA 2604-13, including 5 years Florida exposure.]

L. Pretreatment: Mechanically clean and chemically pretreat fabricated items in accordance with coating manufacturer's requirements and AAMA requirements with a Chrome Free Treatment.

M. Coating Quantity: One single color coating, additional coating quantities will not be accepted. This includes, but is not limited to barrier coats, primers and clear coats.

N. Dry Film Thickness: Eighty percent of measurements on primary exposed surfaces shall exceed 1.9 mils with a standard thickness range of 1.9 to 3.14 mils, except inside corners and channels.

O. Environmental Factors: Less than 3% harmful VOC's (Volatile Organic Compounds) emitted during powder coating application process. 

P. Color: Chosen from manufacturer's standards.

** NOTE TO SPECIFIER ** Delete interior finish not required.

1. Quality Standard: Conforming to AAMA 2604.

2. Quality Standard: Conforming to AAMA 2605.

(2.07  MUNTINS)
A. Material: extruded aluminum; with exposed surfaces finished to match window color; concealed fasteners; designed for unrestricted expansion and contraction.
B. Design: muntin bar cross-section profile and material chosen from manufacturer’s standards.
C. Patterns: grid patterns to be designated by architect.
D. Location: internal BTG (Between the Glass Grid) encapsulated between the two glass lites in the insulating glass unit to protect them from damage and dirt buildup. [Tape on grid] [true divided lite: dividing the insulating glass into small individual units.]
(2.08  INSTALLATION ACCESSORIES)
A. Material: extruded aluminum; nominal .062” wall; with exposed surfaces finished to match window color and finish performance; concealed fasteners; required weatherseals; designed for unrestricted expansion and contraction.
B. Exterior: Co-extruded nail fin [Stucco panning/ deep set nailfin] [Integral Trim]
PART 3 - EXECUTION
3.01  PREPARATION - Prepare openings to be in tolerance, plumb, level,  provide for
         secure anchoring, and in accordance with approved shop drawings.
3.02  INSTALLATION
A. Install windows in accordance with approved shop drawings and window manufacturer's recommendations with skilled craftspeople who have demonstrated a successful history of installing windows for *Enter number* years.
B. Provide required support and securely fasten and set windows plumb, square, and level without twist or bow. 
C. Apply sealant per sealant manufacturer's recommendations at joints, wipe off excess, and leave exposed sealant surfaces clean and smooth.
 (3.03  FIELD TESTING)
A. Test installed units in conformance with AAMA 502-12 minimum requirements for air and water infiltration with the window manufacturer, dealer, contractor, and owner present.
B. Select test units as directed by the owner's representative and use an AAMA-accredited laboratory provided by the owner or contractor not to be tested higher than 8psf or 2/3rd reduction of 12 psf.
3.04  ADJUSTING - Adjust windows as necessary for smooth and weathertight
         operation.
3.05  CLEANING
A. Peel the Preserve™ protective film from the window glass surfaces when the window installation is complete, leaving these surfaces ready for use without the need for glass cleaning.
B. Leave the installed windows clean and free of construction debris. 
3.06  CARE PRIOR TO BUILDING COMPLETION - Protect surfaces of installed
         windows, in accordance with AAMA CW-10-15, from contact with
         contaminating substances resulting from surrounding construction.
END OF SECTION
SECTION 085113 - ALUMINUM WINDOWS (Architectural)                                                      Page 5 of 10

